## Thermo-Flex® Silicone Rubber Insulated Drain Pipe Heater

### Reliable Heating Protection for Drain Pipes in Cold Environments

The Thermo-Flex® Silicone Rubber Insulated Drain Pipe Defrost Heater is a flexible electric heating cable designed to prevent freezing and ice blockage in drain pipes, condensate lines, and other applications exposed to low temperatures.

Manufactured with high-quality silicone rubber insulation, the heater provides excellent flexibility, reliable electrical insulation, and resistance to extreme temperatures. Its compact 5 × 7 mm profile makes it suitable for installation on a variety of pipes and drainage systems.

Available in multiple lengths and power options, Thermo-Flex® drain pipe heaters can be customized to meet specific installation and heating requirements.

### Key Features

- High-quality silicone rubber insulation

- Operating temperature range from -60°C to 220°C

- Suitable for applications exposed to extreme cold

- Flexible and easy to install

- Available in multiple lengths

- 220V electric power supply

- Available in 40 W/m and 50 W/m power options

- Optional temperature controller for automatic temperature regulation

- Suitable for drain pipes, condensate drainage systems and refrigeration applications

- Custom lengths and specifications available

- Designed for reliable and long-lasting heating performance

### Product Specifications:

| Specification | Details |
| --- | --- |
| Product Name | Thermo-Flex® Silicone Rubber Insulated Drain Pipe Defrost Heater |
| Brand | Thermo-Flex® |
| Type | Drain Pipe Defrost / Heating Cable |
| Material | Silicone Rubber |
| Cross Section | 5 × 7 mm |
| Voltage | 220 V |
| Power Density | 40 W/m or 50 W/m |
| Working Temperature | -60°C to 220°C |
| Insulation | Silicone Rubber |
| Lead Wire | Silicone Rubber |
| Available Lengths | 1 m, 2 m, 3 m, 5 m, 9 m, 10 m, 12 m, 15 m, 18 m, 20 m and customized lengths |
| Controller | Optional Temperature Controller |
| Customization | Minor, Drawing-Based, Sample-Based & Full Customization |

### Applications:

Thermo-Flex® drain pipe defrost heaters are suitable for applications where freezing or ice formation can interfere with drainage and equipment operation, including:

- Refrigerator and freezer drain pipes

- Cold-storage equipment

- Refrigeration systems

- Air-conditioning condensate drain pipes

- HVAC drainage systems

- Commercial refrigeration equipment

- Freezer cabinets

- Cold-room drainage systems

- Outdoor drainage pipes exposed to freezing temperatures

- Industrial piping and drainage applications

### Optional Temperature Controller

For applications requiring automatic temperature management, Thermo-Flex® heaters can be supplied with an optional temperature controller.

The controller helps regulate the heating operation according to the required temperature, helping prevent unnecessary heating and improving energy efficiency.

### Customization Available

At Thermo-Flex®, we understand that heating requirements can vary from one application to another. We offer flexible customization options, including:

Minor Customization
Adjustments to standard specifications, lengths, lead wires and other requirements.

Drawing-Based Customization
Manufacturing according to customer-provided technical drawings and specifications.

Sample-Based Customization
Development and production based on an existing customer sample.

Full Customization
Customized heating solutions developed according to your application, dimensions, voltage, power and installation requirements.

### Why Choose Thermo-Flex®?

Flexible Heating Solutions
Our silicone-insulated heaters can be supplied in different lengths and power densities to suit various applications.

Extreme Temperature Performance
Silicone rubber insulation provides dependable performance across a wide temperature range.

Application-Specific Customization
From a simple change in length to a completely customized heating solution, Thermo-Flex® can accommodate different technical requirements.